## Summary
How to use this spreadsheet:
Fill in blue numbers and columns.
Optionally fill in green numbers and columns if they differ from default values.
First, fill out the sample names, plating volumes, and the total transfer dilution on this sheet.
Second, enter raw counts of colonies/cells on the "Count Data Sheet"
Global Parameters
Transfer Dilution |  |  | 100 | X
Volume Initial Plate |  |  | 50 | µl
Volume Final Plate |  |  | 50 | µl
[5 empty] | R/W Relative Fitness |  |  | W/R Relative Fitness
# | Red Strain |  | White Strain | N | Mean | –95% CL | +95% CL | Mean | –95% CL | +95% CL
1 | REL606 | vs. | REL607 | 0
2 | ... | vs. | ... | 0

## Count Data
Sample | REL606 | vs. | REL607
| t=0 plate |  | Volume | t=1 plate |  | Volume | Malthusian Parameter |  | Fitness
Replicate | Red | White | Plated | Red | White | Plated | M(Red) | M(White) | R/W | W/R
1 |  |  | 50 |  |  | 50
2 |  |  | 50 |  |  | 50
3 |  |  | 50 |  |  | 50
4 |  |  | 50 |  |  | 50
5 |  |  | 50 |  |  | 50
6 |  |  | 50 |  |  | 50
7 |  |  | 50 |  |  | 50
8 |  |  | 50 |  |  | 50
9 |  |  | 50 |  |  | 50
10 |  |  | 50 |  |  | 50
11 |  |  | 50 |  |  | 50
12 |  |  | 50 |  |  | 50
Fitness | R/W | W/R |  |  | R/W | W/R
Mean | #DIV/0! | #DIV/0! |  | df | 0 | 0
S.E.M. | #DIV/0! | #DIV/0! |  | t (df-1) | #NUM! | #NUM!
± 95% CL | #DIV/0! | #DIV/0! |  | stdev.s | #DIV/0! | #DIV/0!
Sample | ... | vs. | ...
| t=0 plate |  | Volume | t=1 plate |  | Volume | Malthusian Parameter |  | Fitness
Replicate | Red | White | Plated | Red | White | Plated | M(Red) | M(White) | R/W | W/R
1 |  |  | 50 |  |  | 50
2 |  |  | 50 |  |  | 50
3 |  |  | 50 |  |  | 50
4 |  |  | 50 |  |  | 50
5 |  |  | 50 |  |  | 50
6 |  |  | 50 |  |  | 50
7 |  |  | 50 |  |  | 50
8 |  |  | 50 |  |  | 50
9 |  |  | 50 |  |  | 50
10 |  |  | 50 |  |  | 50
11 |  |  | 50 |  |  | 50
12 |  |  | 50 |  |  | 50
Fitness | R/W | W/R |  |  | R/W | W/R
Mean | #DIV/0! | #DIV/0! |  | df | 0 | 0
S.E.M. | #DIV/0! | #DIV/0! |  | t (df-1) | #NUM! | #NUM!
± 95% CL | #DIV/0! | #DIV/0! |  | stdev.s | #DIV/0! | #DIV/0!
Sample |  | vs.
| t=0 plate |  | Volume | t=1 plate |  | Volume | Malthusian Parameter |  | Fitness
Replicate | Red | White | Plated | Red | White | Plated | M(Red) | M(White) | R/W | W/R
1 |  |  | 50 |  |  | 50
2 |  |  | 50 |  |  | 50
3 |  |  | 50 |  |  | 50
4 |  |  | 50 |  |  | 50
5 |  |  | 50 |  |  | 50
6 |  |  | 50 |  |  | 50
7 |  |  | 50 |  |  | 50
8 |  |  | 50 |  |  | 50
9 |  |  | 50 |  |  | 50
10 |  |  | 50 |  |  | 50
11 |  |  | 50 |  |  | 50
12 |  |  | 50 |  |  | 50
Fitness | R/W | W/R |  |  | R/W | W/R
Mean | #DIV/0! | #DIV/0! |  | df | 0 | 0
S.E.M. | #DIV/0! | #DIV/0! |  | t (df-1) | #NUM! | #NUM!
± 95% CL | #DIV/0! | #DIV/0! |  | stdev.s | #DIV/0! | #DIV/0!
Sample |  | vs.
| t=0 plate |  | Volume | t=1 plate |  | Volume | Malthusian Parameter |  | Fitness
Replicate | Red | White | Plated | Red | White | Plated | M(Red) | M(White) | R/W | W/R
1 |  |  | 50 |  |  | 50
2 |  |  | 50 |  |  | 50
3 |  |  | 50 |  |  | 50
4 |  |  | 50 |  |  | 50
5 |  |  | 50 |  |  | 50
6 |  |  | 50 |  |  | 50
7 |  |  | 50 |  |  | 50
8 |  |  | 50 |  |  | 50
9 |  |  | 50 |  |  | 50
10 |  |  | 50 |  |  | 50
11 |  |  | 50 |  |  | 50
12 |  |  | 50 |  |  | 50
Fitness | R/W | W/R |  |  | R/W | W/R
Mean | #DIV/0! | #DIV/0! |  | df | 0 | 0
S.E.M. | #DIV/0! | #DIV/0! |  | t (df-1) | #NUM! | #NUM!
± 95% CL | #DIV/0! | #DIV/0! |  | stdev.s | #DIV/0! | #DIV/0!
Sample |  | vs.
| t=0 plate |  | Volume | t=1 plate |  | Volume | Malthusian Parameter |  | Fitness
Replicate | Red | White | Plated | Red | White | Plated | M(Red) | M(White) | R/W | W/R
1 |  |  | 50 |  |  | 50
2 |  |  | 50 |  |  | 50
3 |  |  | 50 |  |  | 50
4 |  |  | 50 |  |  | 50
5 |  |  | 50 |  |  | 50
6 |  |  | 50 |  |  | 50
7 |  |  | 50 |  |  | 50
8 |  |  | 50 |  |  | 50
9 |  |  | 50 |  |  | 50
10 |  |  | 50 |  |  | 50
11 |  |  | 50 |  |  | 50
12 |  |  | 50 |  |  | 50
Fitness | R/W | W/R |  |  | R/W | W/R
Mean | #DIV/0! | #DIV/0! |  | df | 0 | 0
S.E.M. | #DIV/0! | #DIV/0! |  | t (df-1) | #NUM! | #NUM!
± 95% CL | #DIV/0! | #DIV/0! |  | stdev.s | #DIV/0! | #DIV/0!
Sample |  | vs.
| t=0 plate |  | Volume | t=1 plate |  | Volume | Malthusian Parameter |  | Fitness
Replicate | Red | White | Plated | Red | White | Plated | M(Red) | M(White) | R/W | W/R
1 |  |  | 50 |  |  | 50
2 |  |  | 50 |  |  | 50
3 |  |  | 50 |  |  | 50
4 |  |  | 50 |  |  | 50
5 |  |  | 50 |  |  | 50
6 |  |  | 50 |  |  | 50
7 |  |  | 50 |  |  | 50
8 |  |  | 50 |  |  | 50
9 |  |  | 50 |  |  | 50
10 |  |  | 50 |  |  | 50
11 |  |  | 50 |  |  | 50
12 |  |  | 50 |  |  | 50
Fitness | R/W | W/R |  |  | R/W | W/R
Mean | #DIV/0! | #DIV/0! |  | df | 0 | 0
S.E.M. | #DIV/0! | #DIV/0! |  | t (df-1) | #NUM! | #NUM!
± 95% CL | #DIV/0! | #DIV/0! |  | stdev.s | #DIV/0! | #DIV/0!
Sample |  | vs.
| t=0 plate |  | Volume | t=1 plate |  | Volume | Malthusian Parameter |  | Fitness
Replicate | Red | White | Plated | Red | White | Plated | M(Red) | M(White) | R/W | W/R
1 |  |  | 50 |  |  | 50
2 |  |  | 50 |  |  | 50
3 |  |  | 50 |  |  | 50
4 |  |  | 50 |  |  | 50
5 |  |  | 50 |  |  | 50
6 |  |  | 50 |  |  | 50
7 |  |  | 50 |  |  | 50
8 |  |  | 50 |  |  | 50
9 |  |  | 50 |  |  | 50
10 |  |  | 50 |  |  | 50
11 |  |  | 50 |  |  | 50
12 |  |  | 50 |  |  | 50
Fitness | R/W | W/R |  |  | R/W | W/R
Mean | #DIV/0! | #DIV/0! |  | df | 0 | 0
S.E.M. | #DIV/0! | #DIV/0! |  | t (df-1) | #NUM! | #NUM!
± 95% CL | #DIV/0! | #DIV/0! |  | stdev.s | #DIV/0! | #DIV/0!
Sample |  | vs.
| t=0 plate |  | Volume | t=1 plate |  | Volume | Malthusian Parameter |  | Fitness
Replicate | Red | White | Plated | Red | White | Plated | M(Red) | M(White) | R/W | W/R
1 |  |  | 50 |  |  | 50
2 |  |  | 50 |  |  | 50
3 |  |  | 50 |  |  | 50
4 |  |  | 50 |  |  | 50
5 |  |  | 50 |  |  | 50
6 |  |  | 50 |  |  | 50
7 |  |  | 50 |  |  | 50
8 |  |  | 50 |  |  | 50
9 |  |  | 50 |  |  | 50
10 |  |  | 50 |  |  | 50
11 |  |  | 50 |  |  | 50
12 |  |  | 50 |  |  | 50
Fitness | R/W | W/R |  |  | R/W | W/R
Mean | #DIV/0! | #DIV/0! |  | df | 0 | 0
S.E.M. | #DIV/0! | #DIV/0! |  | t (df-1) | #NUM! | #NUM!
± 95% CL | #DIV/0! | #DIV/0! |  | stdev.s | #DIV/0! | #DIV/0!
Sample |  | vs.
| t=0 plate |  | Volume | t=1 plate |  | Volume | Malthusian Parameter |  | Fitness
Replicate | Red | White | Plated | Red | White | Plated | M(Red) | M(White) | R/W | W/R
1 |  |  | 50 |  |  | 50
2 |  |  | 50 |  |  | 50
3 |  |  | 50 |  |  | 50
4 |  |  | 50 |  |  | 50
5 |  |  | 50 |  |  | 50
6 |  |  | 50 |  |  | 50
7 |  |  | 50 |  |  | 50
8 |  |  | 50 |  |  | 50
9 |  |  | 50 |  |  | 50
10 |  |  | 50 |  |  | 50
11 |  |  | 50 |  |  | 50
12 |  |  | 50 |  |  | 50
Fitness | R/W | W/R |  |  | R/W | W/R
Mean | #DIV/0! | #DIV/0! |  | df | 0 | 0
S.E.M. | #DIV/0! | #DIV/0! |  | t (df-1) | #NUM! | #NUM!
± 95% CL | #DIV/0! | #DIV/0! |  | stdev.s | #DIV/0! | #DIV/0!
Create more tables by pasting with the same spacing
...
...